## Slide 1
From Commercial to Open-Source: Evaluating AMIRIS as a Cost-Free Alternative to Energy Brainpool for Electricity Price Forecasting
Supervisor: Rohith Krishnan Bala Krishnan
Presented by: Muideen Oladayo Ajiboye (471583)
Date: 27 August 2026

## Slide 2
Agenda
2
• Tasks from the last meeting - status update
• What we've done since: building, testing, and validating the Germany 2027 model
• Where things stand now
• Next steps

## Slide 3
PART 1
Tasks From the Last Meeting
3

## Slide 4
Three Tasks From Last Time
4
• 1. Submit the filled thesis form for endorsement
• 2. Load profile comparisons - AMIRIS vs. our different model versions, with charts
• 3. Use the 2009 renewable weather profiles

## Slide 5
Task 1: Thesis Form
5
• Administrative item - status to confirm at this meeting

## Slide 6
Task 2: Load Profile Comparison
6
AMIRIS's own reference profile vs. V1 (single household-shape demand) vs. V2 (component-split demand)

## Slide 7
Task 2: What the Comparison Showed
7
• V1 (one shape for all demand): peak too high, unrealistic evening spike
• V2 (split into 4 real components): much closer to AMIRIS's own real reference shape
• This finding directly motivated switching the whole project to V2
• V2 became the foundation for everything that followed

## Slide 8
Task 3: 2009 Renewable Weather Profiles
8
Real 2009 weather (renewables.ninja) vs. our original profiles - one week detail + full-year duration curves

## Slide 9
Task 3: What We Found
9
• Brainpool's forecast is built on real 2009 weather - confirmed directly from their published methodology
• Rebuilt wind & solar using real 2009 weather data
‒ Onshore wind and solar: strongly correlated with our original profiles (r = 0.90 and 0.97)
‒ Offshore wind: no real correlation (r = 0.01) - a genuine, separate gap
• This 2009 weather basis was later reused for heat-pump temperature too

## Slide 10
PART 2
What We've Done Since
10

## Slide 11
The Big Picture
11
• Built a full AMIRIS model of Germany's 2027 electricity market, from Brainpool's real input data
• Compared it hour-by-hour against Brainpool's own real 2027 price forecast
• Diagnosed and fixed the gap, one verified step at a time
• Tested whether the fixes hold up on years we never tuned for (2028, 2029)
• Found and fixed a genuine bug along the way

## Slide 12
Building the Model (V1 -> V2)
12
• V1: one household-shaped demand curve for all of Germany's electricity use
• V2: split demand into 4 real components - base load, heat pumps, electrolysis, e-mobility
• Each component shaped using the real data suited to it
• Result: shortage hours (the model 'running out of power') fell from 15.9% to 7.5% of the year

## Slide 13
Fixing the Import Mechanism
13
Diagnosed directly: 64% of shortage hours had ZERO import available - import timing was copied from an unrelated year

## Slide 14
Verifying Our Assumptions Against Reality
14
• Rather than assume, we checked Brainpool's real published methodology directly
• Confirmed: 2009 weather year - correct
• Confirmed: Brainpool's real model covers ~30 European countries with price coupling, not one neighbour
• Rebuilt our import price as a blend of 11 real neighbouring countries instead of France alone
• Result: a small, genuine improvement

## Slide 15
Making Demand "Smart"
15
• Hydrogen production (electrolysis) and EV charging used to draw power flat, every hour
• Rebuilt both as price-responsive: they now choose WHEN to draw power
• Verified directly: both shift toward cheap and negative-price hours
• EV charging result: shortage hours reached ZERO for the first time this project

## Slide 16
The Correlation Journey
16
How closely AMIRIS tracks Brainpool's real 2027 price, step by step, from initial calibration to the final fix

## Slide 17
Testing Years We Never Tuned For
17
Built 2028 and 2029 the same way as 2027, with zero re-tuning, using Brainpool's newly-supplied multi-year data

## Slide 18
A Genuine Bug, Found and Fixed
18
• Checking WHERE 2028/2029 disagreed with Brainpool most revealed a real calendar bug
• Our demand shape borrows a real year's usage pattern (2016) and trims it to fit the target year
• The trimming method silently misaligned the days of the week for 84% of the year
• Clean result: both 2027 and 2029 improved on accuracy AND average error, with no downside

## Slide 19
Where We Stand Now
19
Build | Shortage hours | Mean price | vs. Brainpool's real 68.04
V1, no import | 15.88% | 519 EUR/MWh | 7.6x too high
V1, final | 0.83% | 75 EUR/MWh | almost exact
V2, no import | 7.52% | 286 EUR/MWh | 4.2x too high
V2, final (all fixes) | 0.02% | 56 EUR/MWh | close, slightly below

## Slide 20
The Overall Journey
20
From wildly divergent (7.6x too high, 16% shortage hours) to close to Brainpool's real forecast

## Slide 21
Next Steps
21
• Decide whether to pursue a full cross-border export model (a large undertaking) - the midday-price gap is the main remaining issue and needs this
• Consider whether to update the shortage price (3,000 EUR/MWh) to reflect today's real EU cap (5,000 EUR/MWh)
• Investigate WHY the import ceiling behaves differently across years - a real, still-unexplained pattern
• Continue folding all findings into the formal thesis documentation

## Slide 22
Questions & Discussion
22